## Instructions
qPCR Data Analysis NuRNA™ Human Epitranscriptomics PCR Array
Arraystar Inc., 9430 Key West Ave #128, Rockville, MD 20850, USA Tel: 888-416-6343 • Fax: 240-238-9860 • Email: support@arraystar.com • www.arraystar.com
1. Export the raw Ct values using the software supplied with the real-time PCR instrument.
2. Paste your test sample Ct values to the sheet "Test Sample Data" in the same well positions.
3. Paste your control sample Ct values to the sheet "Control Sample Data" in the same well positions.
4. The software will perform all the calculations and mapping automatically.
5. Check the results in Excel sheets "All expressed genes", "Scatter Plot", "Volcano Plot", etc.
Notes
1. The software may not work if the sample numbers participating in the comparison are less than 4.
2. The automatic procedures include:
Step | Excel sheet
Set all Ct values ≥ 35 or N/A (not detected) to 35 | Data pre-processing
Calculate inter-plate calibration factors | Choose Housekeeping Genes
Select three most stably expressed housekeeping reference genes and calculate average Ct(HKs) | Choose Housekeeping Genes
Inter-plate calibration | Data pre-processing
Calculate DCt for each RNA: DCt(RNA)=Ct(RNA)- average Ct(HKs) | Data pre-processing
Calculate fold-change for each RNA: Fold-change = 2^[average ∆Ct(Control) - average ∆Ct(Test)] | All expressed genes
Calculate P-value | All expressed genes
Scatter Plot | Scatter Plot
Volcano Plot graphing | Volcano Plot
Bar graphing of top 20 up regulated trancripts | up_Bar Graph
Bar graphing of top 20 down regulated transcripts | down_Bar Graph

## Transcript table
Transcript Table
Order in 96 (for sorting by row) | Position | Transcript name | Type | Transcript ID in Refseq | Modification Type
1 | A01 | ADAR | Transcript of interest | NM_015841 | Writer (A->I)
2 | A02 | ADARB1 | Transcript of interest | ENST00000360697 | Writer (A->I)
3 | A03 | ADARB2 | Transcript of interest | NM_018702 | Writer (A->I)
4 | A04 | ADAD1 | Transcript of interest | NM_139243 | Writer (A->I)
5 | A05 | ADAD2 | Transcript of interest | NM_139174 | Writer (A->I)
6 | A06 | ADAT1 | Transcript of interest | NM_012091 | Writer (A->I)
7 | A07 | ADAT2 | Transcript of interest | NM_182503 | Writer (A->I)
8 | A08 | ADAT3 | Transcript of interest | NM_138422 | Writer (A->I)
9 | A09 | TDG | Transcript of interest | NM_003211 | Reader (f5C)
10 | A10 | SMUG1 | Transcript of interest | NM_001243788 | Reader (h5mC, f5C)
11 | A11 | CHTOP | Transcript of interest | NM_001206612 | Reader (5hmC)
12 | A12 | ERH | Transcript of interest | NM_004450 | Reader (5hmC)
13 | B01 | HMCES | Transcript of interest | NM_020187 | Reader (5hmC)
14 | B02 | MEP50 | Transcript of interest | NM_024102 | Reader (5hmC)
15 | B03 | MGME1 | Transcript of interest | NM_052865 | Reader (5hmC)
16 | B04 | NEIL1 | Transcript of interest | NM_024608 | Reader (5hmC)
17 | B05 | PRMT1 | Transcript of interest | NM_001536 | Reader (5hmC)
18 | B06 | PRMT5 | Transcript of interest | NM_006109 | Reader (5hmC)
19 | B07 | THYN1 | Transcript of interest | NM_014174 | Reader (5hmC)
20 | B08 | WDR76 | Transcript of interest | NM_024908 | Reader (5hmC)
21 | B09 | WT1 | Transcript of interest | NM_024426 | Reader (5hmC)
22 | B10 | EGR1 | Transcript of interest | NM_001964 | Reader (-5hmC)
23 | B11 | HSD17B10 | Transcript of interest | NM_004493 | Writer (m1A)
24 | B12 | KIAA0391 | Transcript of interest | NM_014672 | Writer (m1A)
25 | C01 | TRMT10C | Transcript of interest | NM_017819 | Writer (m1A)
26 | C02 | TRMT6 | Transcript of interest | NM_015939 | Writer (m1A)
27 | C03 | TRMT61A | Transcript of interest | NM_152307 | Writer (m1A)
28 | C04 | TRMT61B | Transcript of interest | NM_017910 | Writer (m1A)
29 | C05 | ALKBH3 | Transcript of interest | NM_139178 | Eraser (m1A)
30 | C06 | ALKBH1 | Transcript of interest | NM_006020 | Eraser (m1A, m6A, m5C)
31 | C07 | NSUN2 | Transcript of interest | NM_017755 | Writer (m5C)
32 | C08 | TRDMT1 | Transcript of interest | NM_004412 | Writer (m5C)
33 | C09 | MECP2 | Transcript of interest | NM_001110792 | Reader (m5C, hm5C)
34 | C10 | UHRF1 | Transcript of interest | NM_013282 | Reader (m5C, hm5C)
35 | C11 | DNMT1 | Transcript of interest | NM_006020 | Writer (m5C)
36 | C12 | DNMT3A | Transcript of interest | NM_175629 | Writer (m5C)
37 | D01 | DNMT3B | Transcript of interest | NM_006892 | Writer (m5C)
38 | D02 | DNMT3L | Transcript of interest | NM_013369 | Writer (m5C)
39 | D03 | NOP2 | Transcript of interest | NM_001258309 | Writer (m5C)
40 | D04 | NSUN3 | Transcript of interest | NM_022072 | Writer (m5C)
41 | D05 | NSUN4 | Transcript of interest | NM_199044 | Writer (m5C)
42 | D06 | NSUN5 | Transcript of interest | NM_001168347 | Writer (m5C)
43 | D07 | TET1 | Transcript of interest | NM_030625 | Eraser (m5C)
44 | D08 | TET2 | Transcript of interest | ENST00000540549 | Eraser (m5C)
45 | D09 | TET3 | Transcript of interest | NM_001287491 | Eraser (m5C)
46 | D10 | HNRNPA2B1 | Transcript of interest | NM_002137 | Reader (m6A)
47 | D11 | HNRNPA2B1 | Transcript of interest | NM_031243 | Reader (m6A)
48 | D12 | HNRNPC1 | Transcript of interest | NM_001077443 | Reader (m6A)
49 | E01 | HNRNPC2 | Transcript of interest | NM_001077442 | Reader (m6A)
50 | E02 | YTHDC1 | Transcript of interest | NM_001031732 | Reader (m6A)
51 | E03 | YTHDC2 | Transcript of interest | NM_022828 | Reader (m6A)
52 | E04 | YTHDF1 | Transcript of interest | NM_017798 | Reader (m6A)
53 | E05 | YTHDF2 | Transcript of interest | NM_016258 | Reader (m6A)
54 | E06 | YTHDF3 | Transcript of interest | NM_001277813 | Reader (m6A)
55 | E07 | ELAVL1 | Transcript of interest | NM_001419 | Reader (-m6A)
56 | E08 | KIAA1429 | Transcript of interest | NM_015496 | Writer (m6A)
57 | E09 | METTL14 | Transcript of interest | NM_020961 | Writer (m6A)
58 | E10 | METTL3 | Transcript of interest | NM_019852 | Writer (m6A)
59 | E11 | METTL4 | Transcript of interest | NM_022840 | Writer (m6A)
60 | E12 | WTAP | Transcript of interest | NM_004906 | Writer (m6A)
61 | F01 | DGCR8 | Transcript of interest | NM_022720 | Reader (m6A)
62 | F02 | ALKBH5 | Transcript of interest | NM_017758 | Eraser (m6A)
63 | F03 | FTO | Transcript of interest | NM_001080432 | Eraser (m6A)
64 | F04 | RNGTT | Transcript of interest | NM_003800 | Writer
65 | F05 | RNMT | Transcript of interest | NM_001308263 | Writer
66 | F06 | CMTR1 | Transcript of interest | NM_015050 | Writer
67 | F07 | CMTR2 | Transcript of interest | ENST00000338099 | Writer
68 | F08 | DKC1 | Transcript of interest | NM_001363 | Writer (Ψ)
69 | F09 | GAR1 | Transcript of interest | NM_018983 | Writer (Ψ)
70 | F10 | NAF1 | Transcript of interest | NM_138386 | Writer (Ψ)
71 | F11 | NHP2 | Transcript of interest | NM_017838 | Writer (Ψ)
72 | F12 | NOP10 | Transcript of interest | NM_018648 | Writer (Ψ)
73 | G01 | PUS1 | Transcript of interest | NM_025215 | Writer (Ψ)
74 | G02 | PUS3 | Transcript of interest | NM_031307 | Writer (Ψ)
75 | G03 | PUS7 | Transcript of interest | NM_019042 | Writer (Ψ)
76 | G04 | TRUB1 | Transcript of interest | NM_139169 | Writer (Ψ)
77 | G05 | PUS10 | Transcript of interest | NM_144709 | Writer (Ψ)
78 | G06 | PUS7L | Transcript of interest | NM_031292 | Writer (Ψ)
79 | G07 | PUSL1 | Transcript of interest | NM_153339 | Writer (Ψ)
80 | G08 | RPUSD1 | Transcript of interest | ENST00000561734 | Writer (Ψ)
81 | G09 | RPUSD2 | Transcript of interest | NM_152260 | Writer (Ψ)
82 | G10 | RPUSD3 | Transcript of interest | NM_173659 | Writer (Ψ)
83 | G11 | RPUSD4 | Transcript of interest | NM_032795 | Writer (Ψ)
84 | G12 | TRUB2 | Transcript of interest | NM_015679 | Writer (Ψ)
85 | H01 | RBM15 | Transcript of interest | NM_022768.4. | Writer (m6A)
86 | H02 | RBM15B | Transcript of interest | NM_013286.4. | Writer (m6A)
87 | H03 | SRSF2 | Transcript of interest | NM_001195427.1. | Reader (m6A)
88 | H04 | EIF3A | Transcript of interest | NM_003750.2. | Reader (m6A)
89 | H05 | EIF3B | Transcript of interest | NM_001037283.1. | Reader (m6A)
90 | H06 | GAPDH | Housekeeping gene
91 | H07 | ACTB | Housekeeping gene
92 | H08 | 18S RNA | Housekeeping gene
93 | H09 | RNA Spike-in | RNA Spike-in
94 | H10 | PPC | Positive PCR Control
95 | H11 | GDC | Genomic DNA Control
96 | H12 | Blank | Blank

## Test Sample Data
Transcript name | Well | Test
|  | exp1 | exp2 | exp3 | exp4 | exp5 | exp6 | exp7 | exp8 | exp9 | exp10 | exp11 | exp12 | exp13 | exp14 | exp15 | exp16 | exp17 | exp18 | exp19 | exp20 | AVG | SD
ADAR | A01 | [20 empty] | 35 | N/A | Ct Range | Distribution of Ct Values | [19 empty] | AVG | STD
ADARB1 | A02 | [20 empty] | 35 | N/A |  | exp1 | exp2 | exp3 | exp4 | exp5 | exp6 | exp7 | exp8 | exp9 | exp10 | exp11 | exp12 | exp13 | exp14 | exp15 | exp16 | exp17 | exp18 | exp19 | exp20
ADARB2 | A03 | [20 empty] | 35 | N/A | <25 | [20 empty] | #DIV/0! | #DIV/0!
ADAD1 | A04 | [20 empty] | 35 | N/A | 25-30 | [20 empty] | #DIV/0! | #DIV/0!
ADAD2 | A05 | [20 empty] | 35 | N/A | 30-35 | [20 empty] | #DIV/0! | #DIV/0!
ADAT1 | A06 | [20 empty] | 35 | N/A | Absent Calls | [20 empty] | #DIV/0! | #DIV/0!
ADAT2 | A07 | [20 empty] | 35 | N/A | Percent Distribution of Ct Values
ADAT3 | A08 | [20 empty] | 35 | N/A | <25 | [20 empty] | #DIV/0! | #DIV/0!
TDG | A09 | [20 empty] | 35 | N/A | 25-30 | [20 empty] | #DIV/0! | #DIV/0!
SMUG1 | A10 | [20 empty] | 35 | N/A | 30-35 | [20 empty] | #DIV/0! | #DIV/0!
CHTOP | A11 | [20 empty] | 35 | N/A | Absent Calls | [20 empty] | #DIV/0! | #DIV/0!
ERH | A12 | [20 empty] | 35 | N/A
HMCES | B01 | [20 empty] | 35 | N/A
MEP50 | B02 | [20 empty] | 35 | N/A
MGME1 | B03 | [20 empty] | 35 | N/A
NEIL1 | B04 | [20 empty] | 35 | N/A
PRMT1 | B05 | [20 empty] | 35 | N/A
PRMT5 | B06 | [20 empty] | 35 | N/A
THYN1 | B07 | [20 empty] | 35 | N/A
WDR76 | B08 | [20 empty] | 35 | N/A
WT1 | B09 | [20 empty] | 35 | N/A
EGR1 | B10 | [20 empty] | 35 | N/A
HSD17B10 | B11 | [20 empty] | 35 | N/A
KIAA0391 | B12 | [20 empty] | 35 | N/A
TRMT10C | C01 | [20 empty] | 35 | N/A
TRMT6 | C02 | [20 empty] | 35 | N/A
TRMT61A | C03 | [20 empty] | 35 | N/A
TRMT61B | C04 | [20 empty] | 35 | N/A
ALKBH3 | C05 | [20 empty] | 35 | N/A
ALKBH1 | C06 | [20 empty] | 35 | N/A
NSUN2 | C07 | [20 empty] | 35 | N/A
TRDMT1 | C08 | [20 empty] | 35 | N/A
MECP2 | C09 | [20 empty] | 35 | N/A
UHRF1 | C10 | [20 empty] | 35 | N/A
DNMT1 | C11 | [20 empty] | 35 | N/A
DNMT3A | C12 | [20 empty] | 35 | N/A
DNMT3B | D01 | [20 empty] | 35 | N/A
DNMT3L | D02 | [20 empty] | 35 | N/A
NOP2 | D03 | [20 empty] | 35 | N/A
NSUN3 | D04 | [20 empty] | 35 | N/A
NSUN4 | D05 | [20 empty] | 35 | N/A
NSUN5 | D06 | [20 empty] | 35 | N/A
TET1 | D07 | [20 empty] | 35 | N/A
TET2 | D08 | [20 empty] | 35 | N/A
TET3 | D09 | [20 empty] | 35 | N/A
HNRNPA2B1 | D10 | [20 empty] | 35 | N/A
HNRNPA2B1 | D11 | [20 empty] | 35 | N/A
HNRNPC1 | D12 | [20 empty] | 35 | N/A
HNRNPC2 | E01 | [20 empty] | 35 | N/A
YTHDC1 | E02 | [20 empty] | 35 | N/A
YTHDC2 | E03 | [20 empty] | 35 | N/A
YTHDF1 | E04 | [20 empty] | 35 | N/A
YTHDF2 | E05 | [20 empty] | 35 | N/A
YTHDF3 | E06 | [20 empty] | 35 | N/A
ELAVL1 | E07 | [20 empty] | 35 | N/A
KIAA1429 | E08 | [20 empty] | 35 | N/A
METTL14 | E09 | [20 empty] | 35 | N/A
METTL3 | E10 | [20 empty] | 35 | N/A
METTL4 | E11 | [20 empty] | 35 | N/A
WTAP | E12 | [20 empty] | 35 | N/A
DGCR8 | F01 | [20 empty] | 35 | N/A
ALKBH5 | F02 | [20 empty] | 35 | N/A
FTO | F03 | [20 empty] | 35 | N/A
RNGTT | F04 | [20 empty] | 35 | N/A
RNMT | F05 | [20 empty] | 35 | N/A
CMTR1 | F06 | [20 empty] | 35 | N/A
CMTR2 | F07 | [20 empty] | 35 | N/A
DKC1 | F08 | [20 empty] | 35 | N/A
GAR1 | F09 | [20 empty] | 35 | N/A
NAF1 | F10 | [20 empty] | 35 | N/A
NHP2 | F11 | [20 empty] | 35 | N/A
NOP10 | F12 | [20 empty] | 35 | N/A
PUS1 | G01 | [20 empty] | 35 | N/A
PUS3 | G02 | [20 empty] | 35 | N/A
PUS7 | G03 | [20 empty] | 35 | N/A
TRUB1 | G04 | [20 empty] | 35 | N/A
PUS10 | G05 | [20 empty] | 35 | N/A
PUS7L | G06 | [20 empty] | 35 | N/A
PUSL1 | G07 | [20 empty] | 35 | N/A
RPUSD1 | G08 | [20 empty] | 35 | N/A
RPUSD2 | G09 | [20 empty] | 35 | N/A
RPUSD3 | G10 | [20 empty] | 35 | N/A
RPUSD4 | G11 | [20 empty] | 35 | N/A
TRUB2 | G12 | [20 empty] | 35 | N/A
RBM15 | H01 | [20 empty] | 35 | N/A
RBM15B | H02 | [20 empty] | 35 | N/A
SRSF2 | H03 | [20 empty] | 35 | N/A
EIF3A | H04 | [20 empty] | 35 | N/A
EIF3B | H05 | [20 empty] | 35 | N/A
GAPDH | H06 | [20 empty] | 35 | N/A
ACTB | H07 | [20 empty] | 35 | N/A
18S RNA | H08 | [20 empty] | 35 | N/A
RNA Spike-in | H09 | [20 empty] | 35 | N/A
PPC | H10 | [20 empty] | 35 | N/A
GDC | H11 | [20 empty] | 35 | N/A
Blank | H12 | [20 empty] | 35 | N/A
Note: If there are fewer than 3 data points, the standard deviation (SD) will appear as "N/A".

## Control Sample Data
Transcript name | Well | Control
|  | exp1 | exp2 | exp3 | exp4 | exp5 | exp6 | exp7 | exp8 | exp9 | exp10 | exp11 | exp12 | exp13 | exp14 | exp15 | exp16 | exp17 | exp18 | exp19 | exp20 | AVG | SD
ADAR | A01 | [20 empty] | 35 | N/A | Ct Range | Distribution of Ct Values | [19 empty] | AVG | STD
ADARB1 | A02 | [20 empty] | 35 | N/A |  | exp1 | exp2 | exp3 | exp4 | exp5 | exp6 | exp7 | exp8 | exp9 | exp10 | exp11 | exp12 | exp13 | exp14 | exp15 | exp16 | exp17 | exp18 | exp19 | exp20
ADARB2 | A03 | [20 empty] | 35 | N/A | <25 | [20 empty] | #DIV/0! | #DIV/0!
ADAD1 | A04 | [20 empty] | 35 | N/A | 25-30 | [20 empty] | #DIV/0! | #DIV/0!
ADAD2 | A05 | [20 empty] | 35 | N/A | 30-35 | [20 empty] | #DIV/0! | #DIV/0!
ADAT1 | A06 | [20 empty] | 35 | N/A | Absent Calls | [20 empty] | #DIV/0! | #DIV/0!
ADAT2 | A07 | [20 empty] | 35 | N/A | Percent Distribution of Ct Values
ADAT3 | A08 | [20 empty] | 35 | N/A | <25 | [20 empty] | #DIV/0! | #DIV/0!
TDG | A09 | [20 empty] | 35 | N/A | 25-30 | [20 empty] | #DIV/0! | #DIV/0!
SMUG1 | A10 | [20 empty] | 35 | N/A | 30-35 | [20 empty] | #DIV/0! | #DIV/0!
CHTOP | A11 | [20 empty] | 35 | N/A | Absent Calls | [20 empty] | #DIV/0! | #DIV/0!
ERH | A12 | [20 empty] | 35 | N/A
HMCES | B01 | [20 empty] | 35 | N/A
MEP50 | B02 | [20 empty] | 35 | N/A
MGME1 | B03 | [20 empty] | 35 | N/A
NEIL1 | B04 | [20 empty] | 35 | N/A
PRMT1 | B05 | [20 empty] | 35 | N/A
PRMT5 | B06 | [20 empty] | 35 | N/A
THYN1 | B07 | [20 empty] | 35 | N/A
WDR76 | B08 | [20 empty] | 35 | N/A
WT1 | B09 | [20 empty] | 35 | N/A
EGR1 | B10 | [20 empty] | 35 | N/A
HSD17B10 | B11 | [20 empty] | 35 | N/A
KIAA0391 | B12 | [20 empty] | 35 | N/A
TRMT10C | C01 | [20 empty] | 35 | N/A
TRMT6 | C02 | [20 empty] | 35 | N/A
TRMT61A | C03 | [20 empty] | 35 | N/A
TRMT61B | C04 | [20 empty] | 35 | N/A
ALKBH3 | C05 | [20 empty] | 35 | N/A
ALKBH1 | C06 | [20 empty] | 35 | N/A
NSUN2 | C07 | [20 empty] | 35 | N/A
TRDMT1 | C08 | [20 empty] | 35 | N/A
MECP2 | C09 | [20 empty] | 35 | N/A
UHRF1 | C10 | [20 empty] | 35 | N/A
DNMT1 | C11 | [20 empty] | 35 | N/A
DNMT3A | C12 | [20 empty] | 35 | N/A
DNMT3B | D01 | [20 empty] | 35 | N/A
DNMT3L | D02 | [20 empty] | 35 | N/A
NOP2 | D03 | [20 empty] | 35 | N/A
NSUN3 | D04 | [20 empty] | 35 | N/A
NSUN4 | D05 | [20 empty] | 35 | N/A
NSUN5 | D06 | [20 empty] | 35 | N/A
TET1 | D07 | [20 empty] | 35 | N/A
TET2 | D08 | [20 empty] | 35 | N/A
TET3 | D09 | [20 empty] | 35 | N/A
HNRNPA2B1 | D10 | [20 empty] | 35 | N/A
HNRNPA2B1 | D11 | [20 empty] | 35 | N/A
HNRNPC1 | D12 | [20 empty] | 35 | N/A
HNRNPC2 | E01 | [20 empty] | 35 | N/A
YTHDC1 | E02 | [20 empty] | 35 | N/A
YTHDC2 | E03 | [20 empty] | 35 | N/A
YTHDF1 | E04 | [20 empty] | 35 | N/A
YTHDF2 | E05 | [20 empty] | 35 | N/A
YTHDF3 | E06 | [20 empty] | 35 | N/A
ELAVL1 | E07 | [20 empty] | 35 | N/A
KIAA1429 | E08 | [20 empty] | 35 | N/A
METTL14 | E09 | [20 empty] | 35 | N/A
METTL3 | E10 | [20 empty] | 35 | N/A
METTL4 | E11 | [20 empty] | 35 | N/A
WTAP | E12 | [20 empty] | 35 | N/A
DGCR8 | F01 | [20 empty] | 35 | N/A
ALKBH5 | F02 | [20 empty] | 35 | N/A
FTO | F03 | [20 empty] | 35 | N/A
RNGTT | F04 | [20 empty] | 35 | N/A
RNMT | F05 | [20 empty] | 35 | N/A
CMTR1 | F06 | [20 empty] | 35 | N/A
CMTR2 | F07 | [20 empty] | 35 | N/A
DKC1 | F08 | [20 empty] | 35 | N/A
GAR1 | F09 | [20 empty] | 35 | N/A
NAF1 | F10 | [20 empty] | 35 | N/A
NHP2 | F11 | [20 empty] | 35 | N/A
NOP10 | F12 | [20 empty] | 35 | N/A
PUS1 | G01 | [20 empty] | 35 | N/A
PUS3 | G02 | [20 empty] | 35 | N/A
PUS7 | G03 | [20 empty] | 35 | N/A
TRUB1 | G04 | [20 empty] | 35 | N/A
PUS10 | G05 | [20 empty] | 35 | N/A
PUS7L | G06 | [20 empty] | 35 | N/A
PUSL1 | G07 | [20 empty] | 35 | N/A
RPUSD1 | G08 | [20 empty] | 35 | N/A
RPUSD2 | G09 | [20 empty] | 35 | N/A
RPUSD3 | G10 | [20 empty] | 35 | N/A
RPUSD4 | G11 | [20 empty] | 35 | N/A
TRUB2 | G12 | [20 empty] | 35 | N/A
RBM15 | H01 | [20 empty] | 35 | N/A
RBM15B | H02 | [20 empty] | 35 | N/A
SRSF2 | H03 | [20 empty] | 35 | N/A
EIF3A | H04 | [20 empty] | 35 | N/A
EIF3B | H05 | [20 empty] | 35 | N/A
GAPDH | H06 | [20 empty] | 35 | N/A
ACTB | H07 | [20 empty] | 35 | N/A
18S RNA | H08 | [20 empty] | 35 | N/A
RNA Spike-in | H09 | [20 empty] | 35 | N/A
PPC | H10 | [20 empty] | 35 | N/A
GDC | H11 | [20 empty] | 35 | N/A
Blank | H12 | [20 empty] | 35 | N/A
Note: If there are fewer than 3 data points, the standard deviation (SD) will appear as "N/A".

## Choose Housekeeping Genes
Housekeeping Gene Symbol | Well | Test | [19 empty] | Housekeeping Gene Symbol | Well | Control | [19 empty] | Housekeeping Gene Symbol | Diff-AVG | Diff-CV | T-Test
|  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 |  |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20
GAPDH | H06 | [20 empty] | GAPDH | H06 | [20 empty] | GAPDH | #DIV/0! | #DIV/0! | N/A | #NUM! | #NUM!
ACTB | H07 | [20 empty] | ACTB | H07 | [20 empty] | ACTB | #DIV/0! | #DIV/0! | N/A | #NUM! | #NUM!
18S RNA | H08 | [20 empty] | 18S RNA | H08 | [20 empty] | 18S RNA | #DIV/0! | #DIV/0! | N/A | #NUM! | #NUM!
Best 3 Reference Test |  | Test 1: Normalization factor | Best 3 Reference Control |  | Normalization factor
|  | Test 1: Test |  |  | Control
|  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 |  |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20
#NUM! |  | #NUM! | #NUM! | #NUM! | #NUM! | #NUM! | #NUM! | #NUM! | #NUM! | #NUM! | #NUM! | #NUM! | #NUM! | #NUM! | #NUM! | #NUM! | #NUM! | #NUM! | #NUM! | #NUM! | #NUM! | #NUM! |  | #NUM! | #NUM! | #NUM! | #NUM! | #NUM! | #NUM! | #NUM! | #NUM! | #NUM! | #NUM! | #NUM! | #NUM! | #NUM! | #NUM! | #NUM! | #NUM! | #NUM! | #NUM! | #NUM! | #NUM!
#NUM! |  | #NUM! | #NUM! | #NUM! | #NUM! | #NUM! | #NUM! | #NUM! | #NUM! | #NUM! | #NUM! | #NUM! | #NUM! | #NUM! | #NUM! | #NUM! | #NUM! | #NUM! | #NUM! | #NUM! | #NUM! | #NUM! |  | #NUM! | #NUM! | #NUM! | #NUM! | #NUM! | #NUM! | #NUM! | #NUM! | #NUM! | #NUM! | #NUM! | #NUM! | #NUM! | #NUM! | #NUM! | #NUM! | #NUM! | #NUM! | #NUM! | #NUM!
#NUM! |  | #NUM! | #NUM! | #NUM! | #NUM! | #NUM! | #NUM! | #NUM! | #NUM! | #NUM! | #NUM! | #NUM! | #NUM! | #NUM! | #NUM! | #NUM! | #NUM! | #NUM! | #NUM! | #NUM! | #NUM! | #NUM! |  | #NUM! | #NUM! | #NUM! | #NUM! | #NUM! | #NUM! | #NUM! | #NUM! | #NUM! | #NUM! | #NUM! | #NUM! | #NUM! | #NUM! | #NUM! | #NUM! | #NUM! | #NUM! | #NUM! | #NUM!
AVG | [21 empty] | AVG
Inter-plate calibration | Well | Test 1: Test | Inter-plate calibration | Well | Control
|  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 |  |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20
PPC | H10 | [20 empty] | PPC | H10
IPC plate average | [21 empty] | IPC plate average
IPC overall average | [21 empty] | IPC overall average
Calibration factor |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Calibration factor |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | Test 1: If no housekeeping gene is chosen, the normalization factor is zero (0). |  |  | If no housekeeping gene is chosen, the normalization factor is zero (0).

## Data pre-processing
Symbol | Well | Test(>35 and (N/A or blank) to 35) & (Inter-plate calibration) | [19 empty] | Symbol | Well | Control(>35 and (N/A or blank) to 35) & (Inter-plate calibration) | [19 empty] | Symbol | Well | Test(normalization) | [19 empty] | Symbol | Well | Control(normalization) | [19 empty] | Test | Control
|  | exp1 | exp2 | exp3 | exp4 | exp5 | exp6 | exp7 | exp8 | exp9 | exp10 | exp11 | exp12 | exp13 | exp14 | exp15 | exp16 | exp17 | exp18 | exp19 | exp20 |  |  | exp1 | exp2 | exp3 | exp4 | exp5 | exp6 | exp7 | exp8 | exp9 | exp10 | exp11 | exp12 | exp13 | exp14 | exp15 | exp16 | exp17 | exp18 | exp19 | exp20 |  |  | exp1 | exp2 | exp3 | exp4 | exp5 | exp6 | exp7 | exp8 | exp9 | exp10 | exp11 | exp12 | exp13 | exp14 | exp15 | exp16 | exp17 | exp18 | exp19 | exp20 |  |  | exp1 | exp2 | exp3 | exp4 | exp5 | exp6 | exp7 | exp8 | exp9 | exp10 | exp11 | exp12 | exp13 | exp14 | exp15 | exp16 | exp17 | exp18 | exp19 | exp20
ADAR | A01 | [20 empty] | ADAR | A01 | [20 empty] | ADAR | A01 | [20 empty] | ADAR | A01 | [20 empty] | #DIV/0! | #DIV/0! | 1 | #DIV/0! | #DIV/0! | 88 | #DIV/0! | #DIV/0! | #DIV/0!
ADARB1 | A02 | [20 empty] | ADARB1 | A02 | [20 empty] | ADARB1 | A02 | [20 empty] | ADARB1 | A02 | [20 empty] | #DIV/0! | #DIV/0! | 2 | #DIV/0! | #DIV/0! | 87 | #DIV/0! | #DIV/0! | #DIV/0!
ADARB2 | A03 | [20 empty] | ADARB2 | A03 | [20 empty] | ADARB2 | A03 | [20 empty] | ADARB2 | A03 | [20 empty] | #DIV/0! | #DIV/0! | 3 | #DIV/0! | #DIV/0! | 86 | #DIV/0! | #DIV/0! | #DIV/0!
ADAD1 | A04 | [20 empty] | ADAD1 | A04 | [20 empty] | ADAD1 | A04 | [20 empty] | ADAD1 | A04 | [20 empty] | #DIV/0! | #DIV/0! | 4 | #DIV/0! | #DIV/0! | 85 | #DIV/0! | #DIV/0! | #DIV/0!
ADAD2 | A05 | [20 empty] | ADAD2 | A05 | [20 empty] | ADAD2 | A05 | [20 empty] | ADAD2 | A05 | [20 empty] | #DIV/0! | #DIV/0! | 5 | #DIV/0! | #DIV/0! | 84 | #DIV/0! | #DIV/0! | #DIV/0!
ADAT1 | A06 | [20 empty] | ADAT1 | A06 | [20 empty] | ADAT1 | A06 | [20 empty] | ADAT1 | A06 | [20 empty] | #DIV/0! | #DIV/0! | 6 | #DIV/0! | #DIV/0! | 83 | #DIV/0! | #DIV/0! | #DIV/0!
ADAT2 | A07 | [20 empty] | ADAT2 | A07 | [20 empty] | ADAT2 | A07 | [20 empty] | ADAT2 | A07 | [20 empty] | #DIV/0! | #DIV/0! | 7 | #DIV/0! | #DIV/0! | 82 | #DIV/0! | #DIV/0! | #DIV/0!
ADAT3 | A08 | [20 empty] | ADAT3 | A08 | [20 empty] | ADAT3 | A08 | [20 empty] | ADAT3 | A08 | [20 empty] | #DIV/0! | #DIV/0! | 8 | #DIV/0! | #DIV/0! | 81 | #DIV/0! | #DIV/0! | #DIV/0!
TDG | A09 | [20 empty] | TDG | A09 | [20 empty] | TDG | A09 | [20 empty] | TDG | A09 | [20 empty] | #DIV/0! | #DIV/0! | 9 | #DIV/0! | #DIV/0! | 80 | #DIV/0! | #DIV/0! | #DIV/0!
SMUG1 | A10 | [20 empty] | SMUG1 | A10 | [20 empty] | SMUG1 | A10 | [20 empty] | SMUG1 | A10 | [20 empty] | #DIV/0! | #DIV/0! | 10 | #DIV/0! | #DIV/0! | 79 | #DIV/0! | #DIV/0! | #DIV/0!
CHTOP | A11 | [20 empty] | CHTOP | A11 | [20 empty] | CHTOP | A11 | [20 empty] | CHTOP | A11 | [20 empty] | #DIV/0! | #DIV/0! | 11 | #DIV/0! | #DIV/0! | 78 | #DIV/0! | #DIV/0! | #DIV/0!
ERH | A12 | [20 empty] | ERH | A12 | [20 empty] | ERH | A12 | [20 empty] | ERH | A12 | [20 empty] | #DIV/0! | #DIV/0! | 12 | #DIV/0! | #DIV/0! | 77 | #DIV/0! | #DIV/0! | #DIV/0!
HMCES | B01 | [20 empty] | HMCES | B01 | [20 empty] | HMCES | B01 | [20 empty] | HMCES | B01 | [20 empty] | #DIV/0! | #DIV/0! | 13 | #DIV/0! | #DIV/0! | 76 | #DIV/0! | #DIV/0! | #DIV/0!
MEP50 | B02 | [20 empty] | MEP50 | B02 | [20 empty] | MEP50 | B02 | [20 empty] | MEP50 | B02 | [20 empty] | #DIV/0! | #DIV/0! | 14 | #DIV/0! | #DIV/0! | 75 | #DIV/0! | #DIV/0! | #DIV/0!
MGME1 | B03 | [20 empty] | MGME1 | B03 | [20 empty] | MGME1 | B03 | [20 empty] | MGME1 | B03 | [20 empty] | #DIV/0! | #DIV/0! | 15 | #DIV/0! | #DIV/0! | 74 | #DIV/0! | #DIV/0! | #DIV/0!
NEIL1 | B04 | [20 empty] | NEIL1 | B04 | [20 empty] | NEIL1 | B04 | [20 empty] | NEIL1 | B04 | [20 empty] | #DIV/0! | #DIV/0! | 16 | #DIV/0! | #DIV/0! | 73 | #DIV/0! | #DIV/0! | #DIV/0!
PRMT1 | B05 | [20 empty] | PRMT1 | B05 | [20 empty] | PRMT1 | B05 | [20 empty] | PRMT1 | B05 | [20 empty] | #DIV/0! | #DIV/0! | 17 | #DIV/0! | #DIV/0! | 72 | #DIV/0! | #DIV/0! | #DIV/0!
PRMT5 | B06 | [20 empty] | PRMT5 | B06 | [20 empty] | PRMT5 | B06 | [20 empty] | PRMT5 | B06 | [20 empty] | #DIV/0! | #DIV/0! | 18 | #DIV/0! | #DIV/0! | 71 | #DIV/0! | #DIV/0! | #DIV/0!
THYN1 | B07 | [20 empty] | THYN1 | B07 | [20 empty] | THYN1 | B07 | [20 empty] | THYN1 | B07 | [20 empty] | #DIV/0! | #DIV/0! | 19 | #DIV/0! | #DIV/0! | 70 | #DIV/0! | #DIV/0! | #DIV/0!
WDR76 | B08 | [20 empty] | WDR76 | B08 | [20 empty] | WDR76 | B08 | [20 empty] | WDR76 | B08 | [20 empty] | #DIV/0! | #DIV/0! | 20 | #DIV/0! | #DIV/0! | 69 | #DIV/0! | #DIV/0! | #DIV/0!
WT1 | B09 | [20 empty] | WT1 | B09 | [20 empty] | WT1 | B09 | [20 empty] | WT1 | B09 | [20 empty] | #DIV/0! | #DIV/0!
EGR1 | B10 | [20 empty] | EGR1 | B10 | [20 empty] | EGR1 | B10 | [20 empty] | EGR1 | B10 | [20 empty] | #DIV/0! | #DIV/0!
HSD17B10 | B11 | [20 empty] | HSD17B10 | B11 | [20 empty] | HSD17B10 | B11 | [20 empty] | HSD17B10 | B11 | [20 empty] | #DIV/0! | #DIV/0!
KIAA0391 | B12 | [20 empty] | KIAA0391 | B12 | [20 empty] | KIAA0391 | B12 | [20 empty] | KIAA0391 | B12 | [20 empty] | #DIV/0! | #DIV/0!
TRMT10C | C01 | [20 empty] | TRMT10C | C01 | [20 empty] | TRMT10C | C01 | [20 empty] | TRMT10C | C01 | [20 empty] | #DIV/0! | #DIV/0!
TRMT6 | C02 | [20 empty] | TRMT6 | C02 | [20 empty] | TRMT6 | C02 | [20 empty] | TRMT6 | C02 | [20 empty] | #DIV/0! | #DIV/0!
TRMT61A | C03 | [20 empty] | TRMT61A | C03 | [20 empty] | TRMT61A | C03 | [20 empty] | TRMT61A | C03 | [20 empty] | #DIV/0! | #DIV/0!
TRMT61B | C04 | [20 empty] | TRMT61B | C04 | [20 empty] | TRMT61B | C04 | [20 empty] | TRMT61B | C04 | [20 empty] | #DIV/0! | #DIV/0!
ALKBH3 | C05 | [20 empty] | ALKBH3 | C05 | [20 empty] | ALKBH3 | C05 | [20 empty] | ALKBH3 | C05 | [20 empty] | #DIV/0! | #DIV/0!
ALKBH1 | C06 | [20 empty] | ALKBH1 | C06 | [20 empty] | ALKBH1 | C06 | [20 empty] | ALKBH1 | C06 | [20 empty] | #DIV/0! | #DIV/0!
NSUN2 | C07 | [20 empty] | NSUN2 | C07 | [20 empty] | NSUN2 | C07 | [20 empty] | NSUN2 | C07 | [20 empty] | #DIV/0! | #DIV/0!
TRDMT1 | C08 | [20 empty] | TRDMT1 | C08 | [20 empty] | TRDMT1 | C08 | [20 empty] | TRDMT1 | C08 | [20 empty] | #DIV/0! | #DIV/0!
MECP2 | C09 | [20 empty] | MECP2 | C09 | [20 empty] | MECP2 | C09 | [20 empty] | MECP2 | C09 | [20 empty] | #DIV/0! | #DIV/0!
UHRF1 | C10 | [20 empty] | UHRF1 | C10 | [20 empty] | UHRF1 | C10 | [20 empty] | UHRF1 | C10 | [20 empty] | #DIV/0! | #DIV/0!
DNMT1 | C11 | [20 empty] | DNMT1 | C11 | [20 empty] | DNMT1 | C11 | [20 empty] | DNMT1 | C11 | [20 empty] | #DIV/0! | #DIV/0!
DNMT3A | C12 | [20 empty] | DNMT3A | C12 | [20 empty] | DNMT3A | C12 | [20 empty] | DNMT3A | C12 | [20 empty] | #DIV/0! | #DIV/0!
DNMT3B | D01 | [20 empty] | DNMT3B | D01 | [20 empty] | DNMT3B | D01 | [20 empty] | DNMT3B | D01 | [20 empty] | #DIV/0! | #DIV/0!
DNMT3L | D02 | [20 empty] | DNMT3L | D02 | [20 empty] | DNMT3L | D02 | [20 empty] | DNMT3L | D02 | [20 empty] | #DIV/0! | #DIV/0!
NOP2 | D03 | [20 empty] | NOP2 | D03 | [20 empty] | NOP2 | D03 | [20 empty] | NOP2 | D03 | [20 empty] | #DIV/0! | #DIV/0!
NSUN3 | D04 | [20 empty] | NSUN3 | D04 | [20 empty] | NSUN3 | D04 | [20 empty] | NSUN3 | D04 | [20 empty] | #DIV/0! | #DIV/0!
NSUN4 | D05 | [20 empty] | NSUN4 | D05 | [20 empty] | NSUN4 | D05 | [20 empty] | NSUN4 | D05 | [20 empty] | #DIV/0! | #DIV/0!
NSUN5 | D06 | [20 empty] | NSUN5 | D06 | [20 empty] | NSUN5 | D06 | [20 empty] | NSUN5 | D06 | [20 empty] | #DIV/0! | #DIV/0!
TET1 | D07 | [20 empty] | TET1 | D07 | [20 empty] | TET1 | D07 | [20 empty] | TET1 | D07 | [20 empty] | #DIV/0! | #DIV/0!
TET2 | D08 | [20 empty] | TET2 | D08 | [20 empty] | TET2 | D08 | [20 empty] | TET2 | D08 | [20 empty] | #DIV/0! | #DIV/0!
TET3 | D09 | [20 empty] | TET3 | D09 | [20 empty] | TET3 | D09 | [20 empty] | TET3 | D09 | [20 empty] | #DIV/0! | #DIV/0!
HNRNPA2B1 | D10 | [20 empty] | HNRNPA2B1 | D10 | [20 empty] | HNRNPA2B1 | D10 | [20 empty] | HNRNPA2B1 | D10 | [20 empty] | #DIV/0! | #DIV/0!
HNRNPA2B1 | D11 | [20 empty] | HNRNPA2B1 | D11 | [20 empty] | HNRNPA2B1 | D11 | [20 empty] | HNRNPA2B1 | D11 | [20 empty] | #DIV/0! | #DIV/0!
HNRNPC1 | D12 | [20 empty] | HNRNPC1 | D12 | [20 empty] | HNRNPC1 | D12 | [20 empty] | HNRNPC1 | D12 | [20 empty] | #DIV/0! | #DIV/0!
HNRNPC2 | E01 | [20 empty] | HNRNPC2 | E01 | [20 empty] | HNRNPC2 | E01 | [20 empty] | HNRNPC2 | E01 | [20 empty] | #DIV/0! | #DIV/0!
YTHDC1 | E02 | [20 empty] | YTHDC1 | E02 | [20 empty] | YTHDC1 | E02 | [20 empty] | YTHDC1 | E02 | [20 empty] | #DIV/0! | #DIV/0!
YTHDC2 | E03 | [20 empty] | YTHDC2 | E03 | [20 empty] | YTHDC2 | E03 | [20 empty] | YTHDC2 | E03 | [20 empty] | #DIV/0! | #DIV/0!
YTHDF1 | E04 | [20 empty] | YTHDF1 | E04 | [20 empty] | YTHDF1 | E04 | [20 empty] | YTHDF1 | E04 | [20 empty] | #DIV/0! | #DIV/0!
YTHDF2 | E05 | [20 empty] | YTHDF2 | E05 | [20 empty] | YTHDF2 | E05 | [20 empty] | YTHDF2 | E05 | [20 empty] | #DIV/0! | #DIV/0!
YTHDF3 | E06 | [20 empty] | YTHDF3 | E06 | [20 empty] | YTHDF3 | E06 | [20 empty] | YTHDF3 | E06 | [20 empty] | #DIV/0! | #DIV/0!
ELAVL1 | E07 | [20 empty] | ELAVL1 | E07 | [20 empty] | ELAVL1 | E07 | [20 empty] | ELAVL1 | E07 | [20 empty] | #DIV/0! | #DIV/0!
KIAA1429 | E08 | [20 empty] | KIAA1429 | E08 | [20 empty] | KIAA1429 | E08 | [20 empty] | KIAA1429 | E08 | [20 empty] | #DIV/0! | #DIV/0!
METTL14 | E09 | [20 empty] | METTL14 | E09 | [20 empty] | METTL14 | E09 | [20 empty] | METTL14 | E09 | [20 empty] | #DIV/0! | #DIV/0!
METTL3 | E10 | [20 empty] | METTL3 | E10 | [20 empty] | METTL3 | E10 | [20 empty] | METTL3 | E10 | [20 empty] | #DIV/0! | #DIV/0!
METTL4 | E11 | [20 empty] | METTL4 | E11 | [20 empty] | METTL4 | E11 | [20 empty] | METTL4 | E11 | [20 empty] | #DIV/0! | #DIV/0!
WTAP | E12 | [20 empty] | WTAP | E12 | [20 empty] | WTAP | E12 | [20 empty] | WTAP | E12 | [20 empty] | #DIV/0! | #DIV/0!
DGCR8 | F01 | [20 empty] | DGCR8 | F01 | [20 empty] | DGCR8 | F01 | [20 empty] | DGCR8 | F01 | [20 empty] | #DIV/0! | #DIV/0!
ALKBH5 | F02 | [20 empty] | ALKBH5 | F02 | [20 empty] | ALKBH5 | F02 | [20 empty] | ALKBH5 | F02 | [20 empty] | #DIV/0! | #DIV/0!
FTO | F03 | [20 empty] | FTO | F03 | [20 empty] | FTO | F03 | [20 empty] | FTO | F03 | [20 empty] | #DIV/0! | #DIV/0!
RNGTT | F04 | [20 empty] | RNGTT | F04 | [20 empty] | RNGTT | F04 | [20 empty] | RNGTT | F04 | [20 empty] | #DIV/0! | #DIV/0!
RNMT | F05 | [20 empty] | RNMT | F05 | [20 empty] | RNMT | F05 | [20 empty] | RNMT | F05 | [20 empty] | #DIV/0! | #DIV/0!
CMTR1 | F06 | [20 empty] | CMTR1 | F06 | [20 empty] | CMTR1 | F06 | [20 empty] | CMTR1 | F06 | [20 empty] | #DIV/0! | #DIV/0!
CMTR2 | F07 | [20 empty] | CMTR2 | F07 | [20 empty] | CMTR2 | F07 | [20 empty] | CMTR2 | F07 | [20 empty] | #DIV/0! | #DIV/0!
DKC1 | F08 | [20 empty] | DKC1 | F08 | [20 empty] | DKC1 | F08 | [20 empty] | DKC1 | F08 | [20 empty] | #DIV/0! | #DIV/0!
GAR1 | F09 | [20 empty] | GAR1 | F09 | [20 empty] | GAR1 | F09 | [20 empty] | GAR1 | F09 | [20 empty] | #DIV/0! | #DIV/0!
NAF1 | F10 | [20 empty] | NAF1 | F10 | [20 empty] | NAF1 | F10 | [20 empty] | NAF1 | F10 | [20 empty] | #DIV/0! | #DIV/0!
NHP2 | F11 | [20 empty] | NHP2 | F11 | [20 empty] | NHP2 | F11 | [20 empty] | NHP2 | F11 | [20 empty] | #DIV/0! | #DIV/0!
NOP10 | F12 | [20 empty] | NOP10 | F12 | [20 empty] | NOP10 | F12 | [20 empty] | NOP10 | F12 | [20 empty] | #DIV/0! | #DIV/0!
PUS1 | G01 | [20 empty] | PUS1 | G01 | [20 empty] | PUS1 | G01 | [20 empty] | PUS1 | G01 | [20 empty] | #DIV/0! | #DIV/0!
PUS3 | G02 | [20 empty] | PUS3 | G02 | [20 empty] | PUS3 | G02 | [20 empty] | PUS3 | G02 | [20 empty] | #DIV/0! | #DIV/0!
PUS7 | G03 | [20 empty] | PUS7 | G03 | [20 empty] | PUS7 | G03 | [20 empty] | PUS7 | G03 | [20 empty] | #DIV/0! | #DIV/0!
TRUB1 | G04 | [20 empty] | TRUB1 | G04 | [20 empty] | TRUB1 | G04 | [20 empty] | TRUB1 | G04 | [20 empty] | #DIV/0! | #DIV/0!
PUS10 | G05 | [20 empty] | PUS10 | G05 | [20 empty] | PUS10 | G05 | [20 empty] | PUS10 | G05 | [20 empty] | #DIV/0! | #DIV/0!
PUS7L | G06 | [20 empty] | PUS7L | G06 | [20 empty] | PUS7L | G06 | [20 empty] | PUS7L | G06 | [20 empty] | #DIV/0! | #DIV/0!
PUSL1 | G07 | [20 empty] | PUSL1 | G07 | [20 empty] | PUSL1 | G07 | [20 empty] | PUSL1 | G07 | [20 empty] | #DIV/0! | #DIV/0!
RPUSD1 | G08 | [20 empty] | RPUSD1 | G08 | [20 empty] | RPUSD1 | G08 | [20 empty] | RPUSD1 | G08 | [20 empty] | #DIV/0! | #DIV/0!
RPUSD2 | G09 | [20 empty] | RPUSD2 | G09 | [20 empty] | RPUSD2 | G09 | [20 empty] | RPUSD2 | G09 | [20 empty] | #DIV/0! | #DIV/0!
RPUSD3 | G10 | [20 empty] | RPUSD3 | G10 | [20 empty] | RPUSD3 | G10 | [20 empty] | RPUSD3 | G10 | [20 empty] | #DIV/0! | #DIV/0!
RPUSD4 | G11 | [20 empty] | RPUSD4 | G11 | [20 empty] | RPUSD4 | G11 | [20 empty] | RPUSD4 | G11 | [20 empty] | #DIV/0! | #DIV/0!
TRUB2 | G12 | [20 empty] | TRUB2 | G12 | [20 empty] | TRUB2 | G12 | [20 empty] | TRUB2 | G12 | [20 empty] | #DIV/0! | #DIV/0!
RBM15 | H01 | [20 empty] | RBM15 | H01 | [20 empty] | RBM15 | H01 | [20 empty] | RBM15 | H01 | [20 empty] | #DIV/0! | #DIV/0!
RBM15B | H02 | [20 empty] | RBM15B | H02 | [20 empty] | RBM15B | H02 | [20 empty] | RBM15B | H02 | [20 empty] | #DIV/0! | #DIV/0!
SRSF2 | H03 | [20 empty] | SRSF2 | H03 | [20 empty] | SRSF2 | H03 | [20 empty] | SRSF2 | H03 | [20 empty] | #DIV/0! | #DIV/0!
EIF3A | H04 | [20 empty] | EIF3A | H04 | [20 empty] | EIF3A | H04 | [20 empty] | EIF3A | H04 | [20 empty] | #DIV/0! | #DIV/0!
EIF3B | H05 | [20 empty] | EIF3B | H05 | [20 empty] | EIF3B | H05 | [20 empty] | EIF3B | H05 | [20 empty] | #DIV/0! | #DIV/0!
GAPDH | H06 | [20 empty] | GAPDH | H06 | [20 empty] | GAPDH | H06 | [20 empty] | GAPDH | H06 | [20 empty] | #DIV/0! | #DIV/0!
ACTB | H07 | [20 empty] | ACTB | H07 | [20 empty] | ACTB | H07 | [20 empty] | ACTB | H07 | [20 empty] | #DIV/0! | #DIV/0!
18S RNA | H08 | [20 empty] | 18S RNA | H08 | [20 empty] | 18S RNA | H08 | [20 empty] | 18S RNA | H08 | [20 empty] | #DIV/0! | #DIV/0!
RNA Spike-in | H09 | [20 empty] | RNA Spike-in | H09 | [20 empty] | RNA Spike-in | H09 | [20 empty] | RNA Spike-in | H09 | [20 empty] | #DIV/0! | #DIV/0!
PPC | H10 | [20 empty] | PPC | H10 | [20 empty] | PPC | H10 | [20 empty] | PPC | H10 | [20 empty] | #DIV/0! | #DIV/0!
GDC | H11 | [20 empty] | GDC | H11 | [20 empty] | GDC | H11 | [20 empty] | GDC | H11 | [20 empty] | #DIV/0! | #DIV/0!
Blank | H12 | [20 empty] | Blank | H12 | [20 empty] | Blank | H12 | [20 empty] | Blank | H12 | [20 empty] | #DIV/0! | #DIV/0!

## All expressed genes
|  | AVG ΔCt (Ct(GOI) - Ave Ct (HKG)) |  | 2^-ΔCt |  | Fold Difference | T-TEST | Fold Up- or Down-Regulation
Transcript name | Well | Test | Control | Test | Control | Test /Control | p value | Test /Control | Comments
ADAR | A01 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | N/A | #DIV/0! | C
ADARB1 | A02 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | N/A | #DIV/0! | C
ADARB2 | A03 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | N/A | #DIV/0! | C
ADAD1 | A04 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | N/A | #DIV/0! | C
ADAD2 | A05 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | N/A | #DIV/0! | C
ADAT1 | A06 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | N/A | #DIV/0! | C
ADAT2 | A07 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | N/A | #DIV/0! | C
ADAT3 | A08 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | N/A | #DIV/0! | C
TDG | A09 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | N/A | #DIV/0! | C
SMUG1 | A10 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | N/A | #DIV/0! | C
CHTOP | A11 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | N/A | #DIV/0! | C
ERH | A12 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | N/A | #DIV/0! | C
HMCES | B01 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | N/A | #DIV/0! | C
MEP50 | B02 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | N/A | #DIV/0! | C
MGME1 | B03 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | N/A | #DIV/0! | C
NEIL1 | B04 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | N/A | #DIV/0! | C
PRMT1 | B05 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | N/A | #DIV/0! | C
PRMT5 | B06 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | N/A | #DIV/0! | C
THYN1 | B07 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | N/A | #DIV/0! | C
WDR76 | B08 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | N/A | #DIV/0! | C
WT1 | B09 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | N/A | #DIV/0! | C
EGR1 | B10 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | N/A | #DIV/0! | C
HSD17B10 | B11 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | N/A | #DIV/0! | C
KIAA0391 | B12 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | N/A | #DIV/0! | C
TRMT10C | C01 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | N/A | #DIV/0! | C
TRMT6 | C02 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | N/A | #DIV/0! | C
TRMT61A | C03 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | N/A | #DIV/0! | C
TRMT61B | C04 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | N/A | #DIV/0! | C
ALKBH3 | C05 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | N/A | #DIV/0! | C
ALKBH1 | C06 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | N/A | #DIV/0! | C
NSUN2 | C07 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | N/A | #DIV/0! | C
TRDMT1 | C08 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | N/A | #DIV/0! | C
MECP2 | C09 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | N/A | #DIV/0! | C
UHRF1 | C10 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | N/A | #DIV/0! | C
DNMT1 | C11 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | N/A | #DIV/0! | C
DNMT3A | C12 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | N/A | #DIV/0! | C
DNMT3B | D01 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | N/A | #DIV/0! | C
DNMT3L | D02 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | N/A | #DIV/0! | C
NOP2 | D03 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | N/A | #DIV/0! | C
NSUN3 | D04 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | N/A | #DIV/0! | C
NSUN4 | D05 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | N/A | #DIV/0! | C
NSUN5 | D06 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | N/A | #DIV/0! | C
TET1 | D07 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | N/A | #DIV/0! | C
TET2 | D08 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | N/A | #DIV/0! | C
TET3 | D09 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | N/A | #DIV/0! | C
HNRNPA2B1 | D10 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | N/A | #DIV/0! | C
HNRNPA2B1 | D11 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | N/A | #DIV/0! | C
HNRNPC1 | D12 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | N/A | #DIV/0! | C
HNRNPC2 | E01 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | N/A | #DIV/0! | C
YTHDC1 | E02 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | N/A | #DIV/0! | C
YTHDC2 | E03 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | N/A | #DIV/0! | C
YTHDF1 | E04 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | N/A | #DIV/0! | C
YTHDF2 | E05 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | N/A | #DIV/0! | C
YTHDF3 | E06 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | N/A | #DIV/0! | C
ELAVL1 | E07 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | N/A | #DIV/0! | C
KIAA1429 | E08 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | N/A | #DIV/0! | C
METTL14 | E09 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | N/A | #DIV/0! | C
METTL3 | E10 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | N/A | #DIV/0! | C
METTL4 | E11 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | N/A | #DIV/0! | C
WTAP | E12 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | N/A | #DIV/0! | C
DGCR8 | F01 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | N/A | #DIV/0! | C
ALKBH5 | F02 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | N/A | #DIV/0! | C
FTO | F03 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | N/A | #DIV/0! | C
RNGTT | F04 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | N/A | #DIV/0! | C
RNMT | F05 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | N/A | #DIV/0! | C
CMTR1 | F06 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | N/A | #DIV/0! | C
CMTR2 | F07 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | N/A | #DIV/0! | C
DKC1 | F08 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | N/A | #DIV/0! | C
GAR1 | F09 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | N/A | #DIV/0! | C
NAF1 | F10 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | N/A | #DIV/0! | C
NHP2 | F11 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | N/A | #DIV/0! | C
NOP10 | F12 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | N/A | #DIV/0! | C
PUS1 | G01 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | N/A | #DIV/0! | C
PUS3 | G02 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | N/A | #DIV/0! | C
PUS7 | G03 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | N/A | #DIV/0! | C
TRUB1 | G04 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | N/A | #DIV/0! | C
PUS10 | G05 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | N/A | #DIV/0! | C
PUS7L | G06 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | N/A | #DIV/0! | C
PUSL1 | G07 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | N/A | #DIV/0! | C
RPUSD1 | G08 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | N/A | #DIV/0! | C
RPUSD2 | G09 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | N/A | #DIV/0! | C
RPUSD3 | G10 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | N/A | #DIV/0! | C
RPUSD4 | G11 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | N/A | #DIV/0! | C
TRUB2 | G12 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | N/A | #DIV/0! | C
RBM15 | H01 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | N/A | #DIV/0! | C
RBM15B | H02 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | N/A | #DIV/0! | C
SRSF2 | H03 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | N/A | #DIV/0! | C
EIF3A | H04 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | N/A | #DIV/0! | C
EIF3B | H05 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | N/A | #DIV/0! | C
GAPDH | H06 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | N/A | #DIV/0! | C
Notes: Fold Difference is the ratio of the normalized gene expression (2^(-Ct)) of the Test Sample divided by that of the Control Sample. It can be also obtained by (2^(-Ct)). Fold Regulation is expressed as the magnitude of fold change, with up- or down-regulation indicated by a positive (ommitted) or negative sign respectively. It is the same as fold difference, if >1, or -1/(fold difference) if < 1.
Fold-change values greater than 2 are indicated in red; the ones less than -2 are indicated in blue. p-value: The p values are calculated based on Student’s t-test of the replicate 2^(-Ct) values for each gene in the control group and treatment groups. p-values less than 0.05 are indicated in red. Comments: "A": The average Ct is relatively high (> 30) in one of the samples, but is still relatively low in the other sample (< 30), suggesting the fold change value may not be as accurately calculated. However, the actual fold change can be at least as large as what is calculated. If the p-value > 0.05, more biological replicates are needed to validate the fold change. "B": The average Ct values are relatively high (> 30) in both control and test samples, and the p-value is either unavailable or above cutoff (p > 0.05). More biological replicates are needed to detect differential expression at low expression levels. "C": The average Ct values are not determined or greater than the cut-off (default 35) in both samples, indicating the gene expression is undetected and fold-change values may be erroneous and reliable.

## Scatter Plot
2
The black line indicates fold changes (2 ^ (-DCt) of 1 (no difference). The pink lines indicate the fold-change threshold, defined by the user with the entry in cell A1. The axis scale or other plot formats can be adjusted by the Excel chart functions.
Scatter Plot
[6 empty] | Well | Symbol | 2-ΔCt
[8 empty] | Test | Control
[6 empty] | 1 | ADAR | #DIV/0! | #DIV/0!
[6 empty] | 2 | ADARB1 | #DIV/0! | #DIV/0!
[6 empty] | 3 | ADARB2 | #DIV/0! | #DIV/0!
[6 empty] | 4 | ADAD1 | #DIV/0! | #DIV/0!
[6 empty] | 5 | ADAD2 | #DIV/0! | #DIV/0!
| #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 6 | ADAT1 | #DIV/0! | #DIV/0!
| #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 7 | ADAT2 | #DIV/0! | #DIV/0!
[6 empty] | 8 | ADAT3 | #DIV/0! | #DIV/0!
[6 empty] | 9 | TDG | #DIV/0! | #DIV/0!
[6 empty] | 10 | SMUG1 | #DIV/0! | #DIV/0!
[6 empty] | 11 | CHTOP | #DIV/0! | #DIV/0!
[6 empty] | 12 | ERH | #DIV/0! | #DIV/0!
[6 empty] | 13 | HMCES | #DIV/0! | #DIV/0!
[6 empty] | 14 | MEP50 | #DIV/0! | #DIV/0!
[6 empty] | 15 | MGME1 | #DIV/0! | #DIV/0!
[6 empty] | 16 | NEIL1 | #DIV/0! | #DIV/0!
[6 empty] | 17 | PRMT1 | #DIV/0! | #DIV/0!
[6 empty] | 18 | PRMT5 | #DIV/0! | #DIV/0!
[6 empty] | 19 | THYN1 | #DIV/0! | #DIV/0!
[6 empty] | 20 | WDR76 | #DIV/0! | #DIV/0!
[6 empty] | 21 | WT1 | #DIV/0! | #DIV/0!
[6 empty] | 22 | EGR1 | #DIV/0! | #DIV/0!
[6 empty] | 23 | HSD17B10 | #DIV/0! | #DIV/0!
[6 empty] | 24 | KIAA0391 | #DIV/0! | #DIV/0!
[6 empty] | 25 | TRMT10C | #DIV/0! | #DIV/0!
[6 empty] | 26 | TRMT6 | #DIV/0! | #DIV/0!
[6 empty] | 27 | TRMT61A | #DIV/0! | #DIV/0!
[6 empty] | 28 | TRMT61B | #DIV/0! | #DIV/0!
[6 empty] | 29 | ALKBH3 | #DIV/0! | #DIV/0!
[6 empty] | 30 | ALKBH1 | #DIV/0! | #DIV/0!
[6 empty] | 31 | NSUN2 | #DIV/0! | #DIV/0!
[6 empty] | 32 | TRDMT1 | #DIV/0! | #DIV/0!
[6 empty] | 33 | MECP2 | #DIV/0! | #DIV/0!
[6 empty] | 34 | UHRF1 | #DIV/0! | #DIV/0!
[6 empty] | 35 | DNMT1 | #DIV/0! | #DIV/0!
[6 empty] | 36 | DNMT3A | #DIV/0! | #DIV/0!
[6 empty] | 37 | DNMT3B | #DIV/0! | #DIV/0!
[6 empty] | 38 | DNMT3L | #DIV/0! | #DIV/0!
[6 empty] | 39 | NOP2 | #DIV/0! | #DIV/0!
[6 empty] | 40 | NSUN3 | #DIV/0! | #DIV/0!
[6 empty] | 41 | NSUN4 | #DIV/0! | #DIV/0!
[6 empty] | 42 | NSUN5 | #DIV/0! | #DIV/0!
[6 empty] | 43 | TET1 | #DIV/0! | #DIV/0!
[6 empty] | 44 | TET2 | #DIV/0! | #DIV/0!
[6 empty] | 45 | TET3 | #DIV/0! | #DIV/0!
[6 empty] | 46 | HNRNPA2B1 | #DIV/0! | #DIV/0!
[6 empty] | 47 | HNRNPA2B1 | #DIV/0! | #DIV/0!
[6 empty] | 48 | HNRNPC1 | #DIV/0! | #DIV/0!
[6 empty] | 49 | HNRNPC2 | #DIV/0! | #DIV/0!
[6 empty] | 50 | YTHDC1 | #DIV/0! | #DIV/0!
[6 empty] | 51 | YTHDC2 | #DIV/0! | #DIV/0!
[6 empty] | 52 | YTHDF1 | #DIV/0! | #DIV/0!
[6 empty] | 53 | YTHDF2 | #DIV/0! | #DIV/0!
[6 empty] | 54 | YTHDF3 | #DIV/0! | #DIV/0!
[6 empty] | 55 | ELAVL1 | #DIV/0! | #DIV/0!
[6 empty] | 56 | KIAA1429 | #DIV/0! | #DIV/0!
[6 empty] | 57 | METTL14 | #DIV/0! | #DIV/0!
[6 empty] | 58 | METTL3 | #DIV/0! | #DIV/0!
[6 empty] | 59 | METTL4 | #DIV/0! | #DIV/0!
[6 empty] | 60 | WTAP | #DIV/0! | #DIV/0!
[6 empty] | 61 | DGCR8 | #DIV/0! | #DIV/0!
[6 empty] | 62 | ALKBH5 | #DIV/0! | #DIV/0!
[6 empty] | 63 | FTO | #DIV/0! | #DIV/0!
[6 empty] | 64 | RNGTT | #DIV/0! | #DIV/0!
[6 empty] | 65 | RNMT | #DIV/0! | #DIV/0!
[6 empty] | 66 | CMTR1 | #DIV/0! | #DIV/0!
[6 empty] | 67 | CMTR2 | #DIV/0! | #DIV/0!
[6 empty] | 68 | DKC1 | #DIV/0! | #DIV/0!
[6 empty] | 69 | GAR1 | #DIV/0! | #DIV/0!
[6 empty] | 70 | NAF1 | #DIV/0! | #DIV/0!
[6 empty] | 71 | NHP2 | #DIV/0! | #DIV/0!
[6 empty] | 72 | NOP10 | #DIV/0! | #DIV/0!
[6 empty] | 73 | PUS1 | #DIV/0! | #DIV/0!
[6 empty] | 74 | PUS3 | #DIV/0! | #DIV/0!
[6 empty] | 75 | PUS7 | #DIV/0! | #DIV/0!
[6 empty] | 76 | TRUB1 | #DIV/0! | #DIV/0!
[6 empty] | 77 | PUS10 | #DIV/0! | #DIV/0!
[6 empty] | 78 | PUS7L | #DIV/0! | #DIV/0!
[6 empty] | 79 | PUSL1 | #DIV/0! | #DIV/0!
[6 empty] | 80 | RPUSD1 | #DIV/0! | #DIV/0!
[6 empty] | 81 | RPUSD2 | #DIV/0! | #DIV/0!
[6 empty] | 82 | RPUSD3 | #DIV/0! | #DIV/0!
[6 empty] | 83 | RPUSD4 | #DIV/0! | #DIV/0!
[6 empty] | 84 | TRUB2 | #DIV/0! | #DIV/0!
[6 empty] | 85 | RBM15 | #DIV/0! | #DIV/0!
[6 empty] | 86 | RBM15B | #DIV/0! | #DIV/0!
[6 empty] | 87 | SRSF2 | #DIV/0! | #DIV/0!
[6 empty] | 88 | EIF3A | #DIV/0! | #DIV/0!
[6 empty] | 89 | EIF3B | #DIV/0! | #DIV/0!
[6 empty] | 90 | GAPDH | #DIV/0! | #DIV/0!

## Volcano Plot
Threshold for Fold Difference |  |  | 2 |  | Threshold for p Value of t-test | 0.05
The black line indicates a fold-change value of 1.
The pink lines indicate the threshold of fold-change, as defined in the yellow D1 cell.
The blue line indicates the p value cutoff, as defined in the yellow I1 cell.
The axis scales and other plot options can be adjusted by using the standard Excel functions. | [8 empty] | Volcano Plot |  |  |  |  | Volcano Plot
[7 empty] | Well | Symbol | Log2(FC) | p Value | Comments | Well | Symbol | Log2(FC) | p Value
[7 empty] | 1 | ADAR | #DIV/0! | #N/A | C | #REF! | #REF!
[7 empty] | 2 | ADARB1 | #DIV/0! | #N/A | C | #REF! | #REF!
| #DIV/0! | 0.05 |  |  |  |  | 3 | ADARB2 | #DIV/0! | #N/A | C | #REF! | #REF!
| #DIV/0! | 0.05 |  |  |  |  | 4 | ADAD1 | #DIV/0! | #N/A | C | #REF! | #REF!
[7 empty] | 5 | ADAD2 | #DIV/0! | #N/A | C | #REF! | #REF!
1 | 1 | 1 | -1 | 0 |  |  | 6 | ADAT1 | #DIV/0! | #N/A | C | #REF! | #REF!
#N/A | #N/A | 1 | -1 | 0 |  |  | 7 | ADAT2 | #DIV/0! | #N/A | C | #REF! | #REF!
[7 empty] | 8 | ADAT3 | #DIV/0! | #N/A | C | #REF! | #REF!
[7 empty] | 9 | TDG | #DIV/0! | #N/A | C | #REF! | #REF!
[7 empty] | 10 | SMUG1 | #DIV/0! | #N/A | C | #REF! | #REF!
[7 empty] | 11 | CHTOP | #DIV/0! | #N/A | C | #REF! | #REF!
[7 empty] | 12 | ERH | #DIV/0! | #N/A | C | #REF! | #REF!
[7 empty] | 13 | HMCES | #DIV/0! | #N/A | C | #REF! | #REF!
[7 empty] | 14 | MEP50 | #DIV/0! | #N/A | C | #REF! | #REF!
[7 empty] | 15 | MGME1 | #DIV/0! | #N/A | C | #REF! | #REF!
[7 empty] | 16 | NEIL1 | #DIV/0! | #N/A | C | #REF! | #REF!
[7 empty] | 17 | PRMT1 | #DIV/0! | #N/A | C | #REF! | #REF!
[7 empty] | 18 | PRMT5 | #DIV/0! | #N/A | C | #REF! | #REF!
[7 empty] | 19 | THYN1 | #DIV/0! | #N/A | C | #REF! | #REF!
[7 empty] | 20 | WDR76 | #DIV/0! | #N/A | C | #REF! | #REF!
[7 empty] | 21 | WT1 | #DIV/0! | #N/A | C | #REF! | #REF!
[7 empty] | 22 | EGR1 | #DIV/0! | #N/A | C | #REF! | #REF!
[7 empty] | 23 | HSD17B10 | #DIV/0! | #N/A | C | #REF! | #REF!
[7 empty] | 24 | KIAA0391 | #DIV/0! | #N/A | C | #REF! | #REF!
[7 empty] | 25 | TRMT10C | #DIV/0! | #N/A | C | #REF! | #REF!
[7 empty] | 26 | TRMT6 | #DIV/0! | #N/A | C | #REF! | #REF!
[7 empty] | 27 | TRMT61A | #DIV/0! | #N/A | C | #REF! | #REF!
[7 empty] | 28 | TRMT61B | #DIV/0! | #N/A | C | #REF! | #REF!
[7 empty] | 29 | ALKBH3 | #DIV/0! | #N/A | C | #REF! | #REF!
[7 empty] | 30 | ALKBH1 | #DIV/0! | #N/A | C | #REF! | #REF!
[7 empty] | 31 | NSUN2 | #DIV/0! | #N/A | C | #REF! | #REF!
[7 empty] | 32 | TRDMT1 | #DIV/0! | #N/A | C | #REF! | #REF!
[7 empty] | 33 | MECP2 | #DIV/0! | #N/A | C | #REF! | #REF!
[7 empty] | 34 | UHRF1 | #DIV/0! | #N/A | C | #REF! | #REF!
[7 empty] | 35 | DNMT1 | #DIV/0! | #N/A | C | #REF! | #REF!
[7 empty] | 36 | DNMT3A | #DIV/0! | #N/A | C | #REF! | #REF!
[7 empty] | 37 | DNMT3B | #DIV/0! | #N/A | C | #REF! | #REF!
[7 empty] | 38 | DNMT3L | #DIV/0! | #N/A | C | #REF! | #REF!
[7 empty] | 39 | NOP2 | #DIV/0! | #N/A | C | #REF! | #REF!
[7 empty] | 40 | NSUN3 | #DIV/0! | #N/A | C | #REF! | #REF!
[7 empty] | 41 | NSUN4 | #DIV/0! | #N/A | C | #REF! | #REF!
[7 empty] | 42 | NSUN5 | #DIV/0! | #N/A | C | #REF! | #REF!
[7 empty] | 43 | TET1 | #DIV/0! | #N/A | C | #REF! | #REF!
[7 empty] | 44 | TET2 | #DIV/0! | #N/A | C | #REF! | #REF!
[7 empty] | 45 | TET3 | #DIV/0! | #N/A | C | #REF! | #REF!
[7 empty] | 46 | HNRNPA2B1 | #DIV/0! | #N/A | C | #REF! | #REF!
[7 empty] | 47 | HNRNPA2B1 | #DIV/0! | #N/A | C | #REF! | #REF!
[7 empty] | 48 | HNRNPC1 | #DIV/0! | #N/A | C | #REF! | #REF!
[7 empty] | 49 | HNRNPC2 | #DIV/0! | #N/A | C | #REF! | #REF!
[7 empty] | 50 | YTHDC1 | #DIV/0! | #N/A | C | #REF! | #REF!
[7 empty] | 51 | YTHDC2 | #DIV/0! | #N/A | C | #REF! | #REF!
[7 empty] | 52 | YTHDF1 | #DIV/0! | #N/A | C | #REF! | #REF!
[7 empty] | 53 | YTHDF2 | #DIV/0! | #N/A | C | #REF! | #REF!
[7 empty] | 54 | YTHDF3 | #DIV/0! | #N/A | C | #REF! | #REF!
[7 empty] | 55 | ELAVL1 | #DIV/0! | #N/A | C | #REF! | #REF!
[7 empty] | 56 | KIAA1429 | #DIV/0! | #N/A | C | #REF! | #REF!
[7 empty] | 57 | METTL14 | #DIV/0! | #N/A | C | #REF! | #REF!
[7 empty] | 58 | METTL3 | #DIV/0! | #N/A | C | #REF! | #REF!
[7 empty] | 59 | METTL4 | #DIV/0! | #N/A | C | #REF! | #REF!
[7 empty] | 60 | WTAP | #DIV/0! | #N/A | C | #REF! | #REF!
[7 empty] | 61 | DGCR8 | #DIV/0! | #N/A | C | #REF! | #REF!
[7 empty] | 62 | ALKBH5 | #DIV/0! | #N/A | C | #REF! | #REF!
[7 empty] | 63 | FTO | #DIV/0! | #N/A | C | #REF! | #REF!
[7 empty] | 64 | RNGTT | #DIV/0! | #N/A | C | #REF! | #REF!
[7 empty] | 65 | RNMT | #DIV/0! | #N/A | C | #REF! | #REF!
[7 empty] | 66 | CMTR1 | #DIV/0! | #N/A | C | #REF! | #REF!
[7 empty] | 67 | CMTR2 | #DIV/0! | #N/A | C | #REF! | #REF!
[7 empty] | 68 | DKC1 | #DIV/0! | #N/A | C | #REF! | #REF!
[7 empty] | 69 | GAR1 | #DIV/0! | #N/A | C | #REF! | #REF!
[7 empty] | 70 | NAF1 | #DIV/0! | #N/A | C | #REF! | #REF!
[7 empty] | 71 | NHP2 | #DIV/0! | #N/A | C | #REF! | #REF!
[7 empty] | 72 | NOP10 | #DIV/0! | #N/A | C | #REF! | #REF!
[7 empty] | 73 | PUS1 | #DIV/0! | #N/A | C | #REF! | #REF!
[7 empty] | 74 | PUS3 | #DIV/0! | #N/A | C | #REF! | #REF!
[7 empty] | 75 | PUS7 | #DIV/0! | #N/A | C | #REF! | #REF!
[7 empty] | 76 | TRUB1 | #DIV/0! | #N/A | C | #REF! | #REF!
[7 empty] | 77 | PUS10 | #DIV/0! | #N/A | C | #REF! | #REF!
[7 empty] | 78 | PUS7L | #DIV/0! | #N/A | C | #REF! | #REF!
[7 empty] | 79 | PUSL1 | #DIV/0! | #N/A | C | #REF! | #REF!
[7 empty] | 80 | RPUSD1 | #DIV/0! | #N/A | C | #REF! | #REF!
[7 empty] | 81 | RPUSD2 | #DIV/0! | #N/A | C | #REF! | #REF!
[7 empty] | 82 | RPUSD3 | #DIV/0! | #N/A | C | #REF! | #REF!
[7 empty] | 83 | RPUSD4 | #DIV/0! | #N/A | C | #REF! | #REF!
[7 empty] | 84 | TRUB2 | #DIV/0! | #N/A | C | #REF! | #REF!
[7 empty] | 85 | RBM15 | #DIV/0! | #N/A | C | #REF! | #REF!
[7 empty] | 86 | RBM15B | #DIV/0! | #N/A | C | #REF! | #REF!
[7 empty] | 87 | SRSF2 | #DIV/0! | #N/A | C | #REF! | #REF!
[7 empty] | 88 | EIF3A | #DIV/0! | #N/A | C | #REF! | #REF!
[7 empty] | 89 | EIF3B | #DIV/0! | #N/A | C
[7 empty] | 90 | GAPDH | #DIV/0! | #N/A | C